## Slide 1: Applicable pu values in the transmission system, cf. Regulation (EU) 2016/1447
Grid codes and connection
Please note: This translation of the original Danish text is for informational purposes only and is not a substitute for the official Danish text. The English text is not legally binding and offers no interpretation on the Danish text. In case of inconsistency, the Danish version applies.
Rev. 1

## Slide 2
Western Denmark, DK1, CE |  |  | 
Voltage level | 150 kV | 220 kV | 400 kV
1 pu | 152 kV | 220 kV | 400 kV*
Applicable pu values in the transmission system, cf. EU 2016/1447.
Eastern Denmark, DK2, N |  |  | 
Voltage level | 132 kV | 220 kV | 400 kV
1 pu | 138 kV | 220 kV | 400 kV*
* 400 kV is included to present the full picture but has not been set at a national level as 1 pu is stipulated in the regulations.