## FCR-D_Data (hidden)
| Primær reserve: | 1 | MW
| Øvre reguleringsbånd: | 0.5 | Hz
| Øvre dødbånd: | 0.1 | Hz
| Nedre dødbånd: | -0.1 | Hz
| Nedre reguleringsbånd: | -0.5 | Hz
|  |  | 0.00060647 |  | Positive energy content = 0,606 [kWh/h]
Frequency |  |  | -0.000818 |  | Negative energy content = -0,818 [kWh/h]
[Hz] | [Hz] | [MW] | [MWh/h]
| Distribution | Power Response | Energy Response | Not required
49.5 | 0 | 1 | 0
49.5025 | 0 | 0.99375 | 0
49.505 | 0 | 0.9875 | 0
49.5075 | 0 | 0.98125 | 0
49.51 | 0 | 0.975 | 0
49.5125 | 0 | 0.96875 | 0
49.515 | 0 | 0.9625 | 0
49.5175 | 0 | 0.95625 | 0
49.52 | 0 | 0.95 | 0
49.5225 | 0 | 0.94375 | 0
49.525 | 0 | 0.9375 | 0
49.5275 | 0 | 0.93125 | 0
49.53 | 0 | 0.925 | 0
49.5325 | 0 | 0.91875 | 0
49.535 | 0 | 0.9125 | 0
49.5375 | 0 | 0.90625 | 0
49.54 | 0 | 0.9 | 0
49.5425 | 0 | 0.89375 | 0
49.545 | 0 | 0.8875 | 0
49.5475 | 0 | 0.88125 | 0
49.55 | 0 | 0.875 | 0
49.5525 | 0 | 0.86875 | 0
49.555 | 0 | 0.8625 | 0
49.5575 | 0 | 0.85625 | 0
49.56 | 0 | 0.85 | 0
49.5625 | 0 | 0.84375 | 0
49.565 | 0 | 0.8375 | 0
49.5675 | 0 | 0.83125 | 0
49.57 | 0 | 0.825 | 0
49.5725 | 0 | 0.81875 | 0
49.575 | 0 | 0.8125 | 0
49.5775 | 0 | 0.80625 | 0
49.58 | 0 | 0.8 | 0
49.5825 | 0 | 0.79375 | 0
49.585 | 0 | 0.7875 | 0
49.5875 | 0 | 0.78125 | 0
49.59 | 0 | 0.775 | 0
49.5925 | 0 | 0.76875 | 0
49.595 | 0 | 0.7625 | 0
49.5975 | 0 | 0.75625 | 0
49.6 | 0 | 0.75 | 0
49.6025 | 0 | 0.74375 | 0
49.605 | 0 | 0.7375 | 0
49.6075 | 0 | 0.73125 | 0
49.61 | 0 | 0.725 | 0
49.6125 | 0 | 0.71875 | 0
49.615 | 0 | 0.7125 | 0
49.6175 | 0 | 0.70625 | 0
49.62 | 0 | 0.7 | 0
49.6225 | 0 | 0.69375 | 0
49.625 | 0 | 0.6875 | 0
49.6275 | 0 | 0.68125 | 0
49.63 | 0 | 0.675 | 0
49.6325 | 0 | 0.66875 | 0
49.635 | 0 | 0.6625 | 0
49.6375 | 0 | 0.65625 | 0
49.64 | 0 | 0.65 | 0
49.6425 | 0 | 0.64375 | 0
49.645 | 0 | 0.6375 | 0
49.6475 | 0 | 0.63125 | 0
49.65 | 0 | 0.625 | 0
49.6525 | 0 | 0.61875 | 0
49.655 | 0 | 0.6125 | 0
49.6575 | 0 | 0.60625 | 0
49.66 | 0 | 0.6 | 0
49.6625 | 0 | 0.59375 | 0
49.665 | 0 | 0.5875 | 0
49.6675 | 0 | 0.58125 | 0
49.67 | 0 | 0.575 | 0
49.6725 | 0 | 0.56875 | 0
49.675 | 0 | 0.5625 | 0
49.6775 | 0 | 0.55625 | 0
49.68 | 0 | 0.55 | 0
49.6825 | 0 | 0.54375 | 0
49.685 | 0 | 0.5375 | 0
49.6875 | 0 | 0.53125 | 0
49.69 | 0 | 0.525 | 0
49.6925 | 0 | 0.51875 | 0
49.695 | 0 | 0.5125 | 0
49.6975 | 0 | 0.50625 | 0
49.7 | 0 | 0.5 | 0
49.7025 | 0 | 0.49375 | 0
49.705 | 0 | 0.4875 | 0
49.7075 | 0 | 0.48125 | 0
49.71 | 0 | 0.475 | 0
49.7125 | 0 | 0.46875 | 0
49.715 | 0 | 0.4625 | 0
49.7175 | 0 | 0.45625 | 0
49.72 | 0 | 0.45 | 0
49.7225 | 0 | 0.44375 | 0
49.725 | 0 | 0.4375 | 0
49.7275 | 0 | 0.43125 | 0
49.73 | 0 | 0.425 | 0
49.7325 | 0 | 0.41875 | 0
49.735 | 0 | 0.4125 | 0
49.7375 | 0 | 0.40625 | 0
49.74 | 0 | 0.4 | 0
49.7425 | 0 | 0.39375 | 0
49.745 | 0 | 0.3875 | 0
49.7475 | 0 | 0.38125 | 0
49.75 | 0 | 0.375 | 0
49.7525 | 0 | 0.36875 | 0
49.755 | 0 | 0.3625 | 0
49.7575 | 0 | 0.35625 | 0
49.76 | 0 | 0.35 | 0
49.7625 | 0 | 0.34375 | 0
49.765 | 0 | 0.3375 | 0
49.7675 | 0 | 0.33125 | 0
49.77 | 0 | 0.325 | 0
49.7725 | 1.1612e-06 | 0.31875 | 3.7014e-07
49.775 | 0 | 0.3125 | 0
49.7775 | 0 | 0.30625 | 0
49.78 | 3.8707e-07 | 0.3 | 1.1612e-07
49.7825 | 3.8707e-07 | 0.29375 | 1.137e-07
49.785 | 0 | 0.2875 | 0
49.7875 | 3.8707e-07 | 0.28125 | 1.0886e-07
49.79 | 3.8707e-07 | 0.275 | 1.0645e-07
49.7925 | 3.0966e-06 | 0.26875 | 8.3221e-07
49.795 | 5.0319e-06 | 0.2625 | 1.3209e-06
49.7975 | 3.4837e-06 | 0.25625 | 8.9269e-07
49.8 | 8.1285e-06 | 0.25 | 2.0321e-06
49.8025 | 6.9673e-06 | 0.24375 | 1.6983e-06
49.805 | 6.5802e-06 | 0.2375 | 1.5628e-06
49.8075 | 1.1612e-05 | 0.23125 | 2.6853e-06
49.81 | 1.1999e-05 | 0.225 | 2.6998e-06
49.8125 | 1.2773e-05 | 0.21875 | 2.7942e-06
49.815 | 1.7031e-05 | 0.2125 | 3.6191e-06
49.8175 | 1.7418e-05 | 0.20625 | 3.5925e-06
49.82 | 2.7095e-05 | 0.2 | 5.419e-06
49.8225 | 2.7869e-05 | 0.19375 | 5.3997e-06
49.825 | 3.6385e-05 | 0.1875 | 6.8222e-06
49.8275 | 4.2191e-05 | 0.18125 | 7.6471e-06
49.83 | 5.7674e-05 | 0.175 | 1.0093e-05
49.8325 | 6.6189e-05 | 0.16875 | 1.1169e-05
49.835 | 5.8448e-05 | 0.1625 | 9.4978e-06
49.8375 | 6.1158e-05 | 0.15625 | 9.5559e-06
49.84 | 8.9801e-05 | 0.15 | 1.347e-05
49.8425 | 9.0962e-05 | 0.14375 | 1.3076e-05
49.845 | 9.0188e-05 | 0.1375 | 1.2401e-05
49.8475 | 0.00011728 | 0.13125 | 1.5393e-05
49.85 | 0.00013664 | 0.125 | 1.708e-05
49.8525 | 0.00013199 | 0.11875 | 1.5674e-05
49.855 | 0.00014593 | 0.1125 | 1.6417e-05
49.8575 | 0.0001885 | 0.10625 | 2.0029e-05
49.86 | 0.00020166 | 0.1 | 2.0166e-05
49.8625 | 0.00022953 | 0.09375 | 2.1519e-05
49.865 | 0.00029572 | 0.0875 | 2.5876e-05
49.8675 | 0.00030463 | 0.08125 | 2.4751e-05
49.87 | 0.00035533 | 0.075 | 2.665e-05
49.8725 | 0.00040294 | 0.06875 | 2.7702e-05
49.875 | 0.000473 | 0.0625 | 2.9563e-05
49.8775 | 0.00051481 | 0.05625 | 2.8958e-05
49.88 | 0.00057558 | 0.05 | 2.8779e-05
49.8825 | 0.00068938 | 0.04375 | 3.016e-05
49.885 | 0.00080937 | 0.0375 | 3.0351e-05
49.8875 | 0.00091117 | 0.03125 | 2.8474e-05
49.89 | 0.0010281 | 0.025 | 2.5702e-05
49.8925 | 0.0010807 | 0.01875 | 2.0263e-05
49.895 | 0.0012146 | 0.0125 | 1.5183e-05
49.8975 | 0.0013896 | 0.00625 | 8.6849e-06
49.9 | 0.0016187 | 0 | 0
49.9025 | 0.0017933 | 0 | 0
49.905 | 0.0020383 | 0 | 0
49.9075 | 0.002509 | 0 | 0
49.91 | 0.0029886 | 0 | 0
49.9125 | 0.0032928 | 0 | 0
49.915 | 0.0034624 | 0 | 0
49.9175 | 0.0040693 | 0 | 0
49.92 | 0.0048171 | 0 | 0
49.9225 | 0.0052491 | 0 | 0
49.925 | 0.0056129 | 0 | 0
49.9275 | 0.0060728 | 0 | 0
49.93 | 0.0070405 | 0 | 0
49.9325 | 0.0078452 | 0 | 0
49.935 | 0.0083201 | 0 | 0
49.9375 | 0.0085245 | 0 | 0
49.94 | 0.0095251 | 0 | 0
49.9425 | 0.010437 | 0 | 0
49.945 | 0.011038 | 0 | 0
49.9475 | 0.011642 | 0 | 0
49.95 | 0.012009 | 0 | 0
49.9525 | 0.013066 | 0 | 0
49.955 | 0.013862 | 0 | 0
49.9575 | 0.014677 | 0 | 0
49.96 | 0.014694 | 0 | 0
49.9625 | 0.014612 | 0 | 0
49.965 | 0.0157 | 0 | 0
49.9675 | 0.017124 | 0 | 0
49.97 | 0.018161 | 0 | 0
49.9725 | 0.017448 | 0 | 0
49.975 | 0.017812 | 0 | 0
49.9775 | 0.019044 | 0 | 0
49.98 | 0.019841 | 0 | 0
49.9825 | 0.019487 | 0 | 0
49.985 | 0.018867 | 0 | 0
49.9875 | 0.020247 | 0 | 0
49.99 | 0.022106 | 0 | 0
49.9925 | 0.022091 | 0 | 0
49.995 | 0.020672 | 0 | 0
49.9975 | 0.021099 | 0 | 0
50 | 0.022493 | 0 | 0
50.0025 | 0.021585 | 0 | 0
50.005 | 0.020737 | 0 | 0
50.0075 | 0.019869 | 0 | 0
50.01 | 0.021174 | 0 | 0
50.0125 | 0.021374 | 0 | 0
50.015 | 0.020859 | 0 | 0
50.0175 | 0.019402 | 0 | 0
50.02 | 0.019609 | 0 | 0
50.0225 | 0.01954 | 0 | 0
50.025 | 0.018652 | 0 | 0
50.0275 | 0.017795 | 0 | 0
50.03 | 0.017215 | 0 | 0
50.0325 | 0.016831 | 0 | 0
50.035 | 0.016406 | 0 | 0
50.0375 | 0.015843 | 0 | 0
50.04 | 0.014968 | 0 | 0
50.0425 | 0.013738 | 0 | 0
50.045 | 0.013368 | 0 | 0
50.0475 | 0.013102 | 0 | 0
50.05 | 0.012486 | 0 | 0
50.0525 | 0.011045 | 0 | 0
50.055 | 0.010752 | 0 | 0
50.0575 | 0.010569 | 0 | 0
50.06 | 0.010283 | 0 | 0
50.0625 | 0.0088504 | 0 | 0
50.065 | 0.0078456 | 0 | 0
50.0675 | 0.0075553 | 0 | 0
50.07 | 0.0076102 | 0 | 0
50.0725 | 0.0068787 | 0 | 0
50.075 | 0.005981 | 0 | 0
50.0775 | 0.0056091 | 0 | 0
50.08 | 0.0054748 | 0 | 0
50.0825 | 0.0049658 | 0 | 0
50.085 | 0.0041308 | 0 | 0
50.0875 | 0.0036803 | 0 | 0
50.09 | 0.0035173 | 0 | 0
50.0925 | 0.0031744 | 0 | 0
50.095 | 0.0027184 | 0 | 0
50.0975 | 0.0023352 | 0 | 0
50.1 | 0.002079 | -2.2773e-12 | -4.7344e-15
50.1025 | 0.0018812 | -0.00625 | -1.1757e-05
50.105 | 0.0016125 | -0.0125 | -2.0157e-05
50.1075 | 0.0013625 | -0.01875 | -2.5547e-05
50.11 | 0.0012026 | -0.025 | -3.0066e-05
50.1125 | 0.0011295 | -0.03125 | -3.5296e-05
50.115 | 0.0010242 | -0.0375 | -3.8407e-05
50.1175 | 0.0008473 | -0.04375 | -3.7069e-05
50.12 | 0.00077608 | -0.05 | -3.8804e-05
50.1225 | 0.0006526 | -0.05625 | -3.6709e-05
50.125 | 0.00062745 | -0.0625 | -3.9215e-05
50.1275 | 0.00053726 | -0.06875 | -3.6936e-05
50.13 | 0.00049584 | -0.075 | -3.7188e-05
50.1325 | 0.00038436 | -0.08125 | -3.123e-05
50.135 | 0.00035069 | -0.0875 | -3.0685e-05
50.1375 | 0.00030579 | -0.09375 | -2.8668e-05
50.14 | 0.00028527 | -0.1 | -2.8527e-05
50.1425 | 0.00022024 | -0.10625 | -2.3401e-05
50.145 | 0.00019121 | -0.1125 | -2.1512e-05
50.1475 | 0.0001556 | -0.11875 | -1.8478e-05
50.15 | 0.00013935 | -0.125 | -1.7418e-05
50.1525 | 0.00010606 | -0.13125 | -1.392e-05
50.155 | 9.6768e-05 | -0.1375 | -1.3306e-05
50.1575 | 9.7929e-05 | -0.14375 | -1.4077e-05
50.16 | 8.4382e-05 | -0.15 | -1.2657e-05
50.1625 | 6.2319e-05 | -0.15625 | -9.7373e-06
50.165 | 6.3093e-05 | -0.1625 | -1.0253e-05
50.1675 | 6.5028e-05 | -0.16875 | -1.0974e-05
50.17 | 8.1285e-05 | -0.175 | -1.4225e-05
50.1725 | 7.4318e-05 | -0.18125 | -1.347e-05
50.175 | 6.3867e-05 | -0.1875 | -1.1975e-05
50.1775 | 4.5288e-05 | -0.19375 | -8.7745e-06
50.18 | 5.6126e-05 | -0.2 | -1.1225e-05
50.1825 | 4.2578e-05 | -0.20625 | -8.7817e-06
50.185 | 4.6062e-05 | -0.2125 | -9.7881e-06
50.1875 | 3.0966e-05 | -0.21875 | -6.7738e-06
50.19 | 3.3675e-05 | -0.225 | -7.577e-06
50.1925 | 3.3288e-05 | -0.23125 | -7.6979e-06
50.195 | 1.9354e-05 | -0.2375 | -4.5965e-06
50.1975 | 2.3611e-05 | -0.24375 | -5.7553e-06
50.2 | 1.8192e-05 | -0.25 | -4.5481e-06
50.2025 | 1.4322e-05 | -0.25625 | -3.6699e-06
50.205 | 1.5483e-05 | -0.2625 | -4.0643e-06
50.2075 | 1.1225e-05 | -0.26875 | -3.0167e-06
50.21 | 8.5156e-06 | -0.275 | -2.3418e-06
50.2125 | 8.5156e-06 | -0.28125 | -2.395e-06
50.215 | 7.7415e-06 | -0.2875 | -2.2257e-06
50.2175 | 9.2897e-06 | -0.29375 | -2.7289e-06
50.22 | 9.2897e-06 | -0.3 | -2.7869e-06
50.2225 | 7.7415e-06 | -0.30625 | -2.3708e-06
50.225 | 3.8707e-06 | -0.3125 | -1.2096e-06
50.2275 | 6.9673e-06 | -0.31875 | -2.2208e-06
50.23 | 2.3224e-06 | -0.325 | -7.5479e-07
50.2325 | 1.5483e-06 | -0.33125 | -5.1287e-07
50.235 | 1.5483e-06 | -0.3375 | -5.2255e-07
50.2375 | 0 | -0.34375 | 0
50.24 | 0 | -0.35 | 0
50.2425 | 0 | -0.35625 | 0
50.245 | 0 | -0.3625 | 0
50.2475 | 0 | -0.36875 | 0
50.25 | 0 | -0.375 | 0
50.2525 | 0 | -0.38125 | 0
50.255 | 0 | -0.3875 | 0
50.2575 | 0 | -0.39375 | 0
50.26 | 0 | -0.4 | 0
50.2625 | 0 | -0.40625 | 0
50.265 | 0 | -0.4125 | 0
50.2675 | 0 | -0.41875 | 0
50.27 | 0 | -0.425 | 0
50.2725 | 0 | -0.43125 | 0
50.275 | 0 | -0.4375 | 0
50.2775 | 0 | -0.44375 | 0
50.28 | 0 | -0.45 | 0
50.2825 | 0 | -0.45625 | 0
50.285 | 0 | -0.4625 | 0
50.2875 | 0 | -0.46875 | 0
50.29 | 0 | -0.475 | 0
50.2925 | 0 | -0.48125 | 0
50.295 | 0 | -0.4875 | 0
50.2975 | 0 | -0.49375 | 0
50.3 | 0 | -0.5 | 0
50.3025 | 0 | -0.50625 | 0
50.305 | 0 | -0.5125 | 0
50.3075 | 0 | -0.51875 | 0
50.31 | 0 | -0.525 | 0
50.3125 | 0 | -0.53125 | 0
50.315 | 0 | -0.5375 | 0
50.3175 | 0 | -0.54375 | 0
50.32 | 0 | -0.55 | 0
50.3225 | 0 | -0.55625 | 0
50.325 | 0 | -0.5625 | 0
50.3275 | 0 | -0.56875 | 0
50.33 | 0 | -0.575 | 0
50.3325 | 0 | -0.58125 | 0
50.335 | 0 | -0.5875 | 0
50.3375 | 0 | -0.59375 | 0
50.34 | 0 | -0.6 | 0
50.3425 | 0 | -0.60625 | 0
50.345 | 0 | -0.6125 | 0
50.3475 | 0 | -0.61875 | 0
50.35 | 0 | -0.625 | 0
50.3525 | 0 | -0.63125 | 0
50.355 | 0 | -0.6375 | 0
50.3575 | 0 | -0.64375 | 0
50.36 | 0 | -0.65 | 0
50.3625 | 0 | -0.65625 | 0
50.365 | 0 | -0.6625 | 0
50.3675 | 0 | -0.66875 | 0
50.37 | 0 | -0.675 | 0
50.3725 | 0 | -0.68125 | 0
50.375 | 0 | -0.6875 | 0
50.3775 | 0 | -0.69375 | 0
50.38 | 0 | -0.7 | 0
50.3825 | 0 | -0.70625 | 0
50.385 | 0 | -0.7125 | 0
50.3875 | 0 | -0.71875 | 0
50.39 | 0 | -0.725 | 0
50.3925 | 0 | -0.73125 | 0
50.395 | 0 | -0.7375 | 0
50.3975 | 0 | -0.74375 | 0
50.4 | 0 | -0.75 | 0
50.4025 | 0 | -0.75625 | 0
50.405 | 0 | -0.7625 | 0
50.4075 | 0 | -0.76875 | 0
50.41 | 0 | -0.775 | 0
50.4125 | 0 | -0.78125 | 0
50.415 | 0 | -0.7875 | 0
50.4175 | 0 | -0.79375 | 0
50.42 | 0 | -0.8 | 0
50.4225 | 0 | -0.80625 | 0
50.425 | 0 | -0.8125 | 0
50.4275 | 0 | -0.81875 | 0
50.43 | 0 | -0.825 | 0
50.4325 | 0 | -0.83125 | 0
50.435 | 0 | -0.8375 | 0
50.4375 | 0 | -0.84375 | 0
50.44 | 0 | -0.85 | 0
50.4425 | 0 | -0.85625 | 0
50.445 | 0 | -0.8625 | 0
50.4475 | 0 | -0.86875 | 0
50.45 | 0 | -0.875 | 0
50.4525 | 0 | -0.88125 | 0
50.455 | 0 | -0.8875 | 0
50.4575 | 0 | -0.89375 | 0
50.46 | 0 | -0.9 | 0
50.4625 | 0 | -0.90625 | 0
50.465 | 0 | -0.9125 | 0
50.4675 | 0 | -0.91875 | 0
50.47 | 0 | -0.925 | 0
50.4725 | 0 | -0.93125 | 0
50.475 | 0 | -0.9375 | 0
50.4775 | 0 | -0.94375 | 0
50.48 | 0 | -0.95 | 0
50.4825 | 0 | -0.95625 | 0
50.485 | 0 | -0.9625 | 0
50.4875 | 0 | -0.96875 | 0
50.49 | 0 | -0.975 | 0
50.4925 | 0 | -0.98125 | 0
50.495 | 0 | -0.9875 | 0
50.4975 | 0 | -0.99375 | 0
50.5 | 0 | -1 | 0
1

## FCR-N_Data (hidden)
| Primær reserve: | 1 | MW
| Øvre reguleringsbånd: | 0.1 | Hz
| Øvre dødbånd: | 0 | Hz
| Nedre dødbånd: | 0 | Hz
| Nedre reguleringsbånd: | -0.1 | Hz
| Standard afvigelse : |  | 0.18065 |  | Positive energy content = 180,648 [kWh/h]
Frequency | 0.0446 |  | -0.18367 |  | Negative energy content = -183,672 [kWh/h]
[Hz] | [Hz] | [MW] | [MWh/h]
| Distribution | Power Response | Energy Response | Not required
49.8 | 2.245e-05 | 1 | 2.245e-05 | 2
49.801 | 3.0966e-06 | 1 | 3.0966e-06 | 1.99
49.802 | 2.7095e-06 | 1 | 2.7095e-06 | 1.98
49.803 | 1.1612e-06 | 1 | 1.1612e-06 | 1.97
49.804 | 3.8707e-06 | 1 | 3.8707e-06 | 1.96
49.805 | 2.7095e-06 | 1 | 2.7095e-06 | 1.95
49.806 | 1.9354e-06 | 1 | 1.9354e-06 | 1.94
49.807 | 5.419e-06 | 1 | 5.419e-06 | 1.93
49.808 | 6.1932e-06 | 1 | 6.1932e-06 | 1.92
49.809 | 6.5802e-06 | 1 | 6.5802e-06 | 1.91
49.81 | 3.4837e-06 | 1 | 3.4837e-06 | 1.9
49.811 | 3.4837e-06 | 1 | 3.4837e-06 | 1.89
49.812 | 7.3544e-06 | 1 | 7.3544e-06 | 1.88
49.813 | 5.419e-06 | 1 | 5.419e-06 | 1.87
49.814 | 8.5156e-06 | 1 | 8.5156e-06 | 1.86
49.815 | 5.0319e-06 | 1 | 5.0319e-06 | 1.85
49.816 | 6.9673e-06 | 1 | 6.9673e-06 | 1.84
49.817 | 7.3544e-06 | 1 | 7.3544e-06 | 1.83
49.818 | 8.9027e-06 | 1 | 8.9027e-06 | 1.82
49.819 | 9.2897e-06 | 1 | 9.2897e-06 | 1.81
49.82 | 1.1999e-05 | 1 | 1.1999e-05 | 1.8
49.821 | 1.1999e-05 | 1 | 1.1999e-05 | 1.79
49.822 | 1.1225e-05 | 1 | 1.1225e-05 | 1.78
49.823 | 1.4322e-05 | 1 | 1.4322e-05 | 1.77
49.824 | 1.5096e-05 | 1 | 1.5096e-05 | 1.76
49.825 | 1.1612e-05 | 1 | 1.1612e-05 | 1.75
49.826 | 1.3548e-05 | 1 | 1.3548e-05 | 1.74
49.827 | 1.9354e-05 | 1 | 1.9354e-05 | 1.73
49.828 | 1.6644e-05 | 1 | 1.6644e-05 | 1.72
49.829 | 2.0902e-05 | 1 | 2.0902e-05 | 1.71
49.83 | 2.9418e-05 | 1 | 2.9418e-05 | 1.7
49.831 | 2.3999e-05 | 1 | 2.3999e-05 | 1.69
49.832 | 2.4773e-05 | 1 | 2.4773e-05 | 1.68
49.833 | 3.1353e-05 | 1 | 3.1353e-05 | 1.67
49.834 | 2.245e-05 | 1 | 2.245e-05 | 1.66
49.835 | 2.2063e-05 | 1 | 2.2063e-05 | 1.65
49.836 | 2.516e-05 | 1 | 2.516e-05 | 1.64
49.837 | 2.4773e-05 | 1 | 2.4773e-05 | 1.63
49.838 | 2.5547e-05 | 1 | 2.5547e-05 | 1.62
49.839 | 3.832e-05 | 1 | 3.832e-05 | 1.61
49.84 | 3.7159e-05 | 1 | 3.7159e-05 | 1.6
49.841 | 3.4837e-05 | 1 | 3.4837e-05 | 1.59
49.842 | 3.4837e-05 | 1 | 3.4837e-05 | 1.58
49.843 | 4.103e-05 | 1 | 4.103e-05 | 1.57
49.844 | 3.0579e-05 | 1 | 3.0579e-05 | 1.56
49.845 | 3.9869e-05 | 1 | 3.9869e-05 | 1.55
49.846 | 5.1868e-05 | 1 | 5.1868e-05 | 1.54
49.847 | 4.1804e-05 | 1 | 4.1804e-05 | 1.53
49.848 | 5.1868e-05 | 1 | 5.1868e-05 | 1.52
49.849 | 5.7674e-05 | 1 | 5.7674e-05 | 1.51
49.85 | 5.0707e-05 | 1 | 5.0707e-05 | 1.5
49.851 | 5.4577e-05 | 1 | 5.4577e-05 | 1.49
49.852 | 5.0707e-05 | 1 | 5.0707e-05 | 1.48
49.853 | 5.3029e-05 | 1 | 5.3029e-05 | 1.47
49.854 | 5.419e-05 | 1 | 5.419e-05 | 1.46
49.855 | 6.5415e-05 | 1 | 6.5415e-05 | 1.45
49.856 | 6.5415e-05 | 1 | 6.5415e-05 | 1.44
49.857 | 7.8189e-05 | 1 | 7.8189e-05 | 1.43
49.858 | 8.7091e-05 | 1 | 8.7091e-05 | 1.42
49.859 | 8.2447e-05 | 1 | 8.2447e-05 | 1.41
49.86 | 7.7027e-05 | 1 | 7.7027e-05 | 1.4
49.861 | 9.1349e-05 | 1 | 9.1349e-05 | 1.39
49.862 | 8.8253e-05 | 1 | 8.8253e-05 | 1.38
49.863 | 9.522e-05 | 1 | 9.522e-05 | 1.37
49.864 | 0.00011844 | 1 | 0.00011844 | 1.36
49.865 | 0.00013199 | 1 | 0.00013199 | 1.35
49.866 | 9.9865e-05 | 1 | 9.9865e-05 | 1.34
49.867 | 0.0001258 | 1 | 0.0001258 | 1.33
49.868 | 0.00014283 | 1 | 0.00014283 | 1.32
49.869 | 0.00014283 | 1 | 0.00014283 | 1.31
49.87 | 0.00014864 | 1 | 0.00014864 | 1.3
49.871 | 0.00017651 | 1 | 0.00017651 | 1.29
49.872 | 0.00015135 | 1 | 0.00015135 | 1.28
49.873 | 0.00015289 | 1 | 0.00015289 | 1.27
49.874 | 0.00020825 | 1 | 0.00020825 | 1.26
49.875 | 0.00018657 | 1 | 0.00018657 | 1.25
49.876 | 0.00018463 | 1 | 0.00018463 | 1.24
49.877 | 0.00021947 | 1 | 0.00021947 | 1.23
49.878 | 0.00021599 | 1 | 0.00021599 | 1.22
49.879 | 0.00019934 | 1 | 0.00019934 | 1.21
49.88 | 0.00027134 | 1 | 0.00027134 | 1.2
49.881 | 0.00030308 | 1 | 0.00030308 | 1.19
49.882 | 0.00025431 | 1 | 0.00025431 | 1.18
49.883 | 0.00028101 | 1 | 0.00028101 | 1.17
49.884 | 0.00034953 | 1 | 0.00034953 | 1.16
49.885 | 0.00031082 | 1 | 0.00031082 | 1.15
49.886 | 0.00033869 | 1 | 0.00033869 | 1.14
49.887 | 0.00040101 | 1 | 0.00040101 | 1.13
49.888 | 0.00033482 | 1 | 0.00033482 | 1.12
49.889 | 0.00037275 | 1 | 0.00037275 | 1.11
49.89 | 0.00049197 | 1 | 0.00049197 | 1.1
49.891 | 0.00043004 | 1 | 0.00043004 | 1.09
49.892 | 0.00041146 | 1 | 0.00041146 | 1.08
49.893 | 0.00049894 | 1 | 0.00049894 | 1.07
49.894 | 0.00049623 | 1 | 0.00049623 | 1.06
49.895 | 0.00045636 | 1 | 0.00045636 | 1.05
49.896 | 0.00054926 | 1 | 0.00054926 | 1.04
49.897 | 0.00058642 | 1 | 0.00058642 | 1.03
49.898 | 0.00051984 | 1 | 0.00051984 | 1.02
49.899 | 0.00062164 | 1 | 0.00062164 | 1.01
49.9 | 0.0007335 | 1 | 0.0007335
49.901 | 0.0006646 | 0.99 | 0.00065796
49.902 | 0.00068705 | 0.98 | 0.00067331
49.903 | 0.00086279 | 0.97 | 0.0008369
49.904 | 0.00076021 | 0.96 | 0.0007298
49.905 | 0.00085698 | 0.95 | 0.00081413
49.906 | 0.0010675 | 0.94 | 0.0010035
49.907 | 0.0009522 | 0.93 | 0.00088555
49.908 | 0.0010087 | 0.92 | 0.00092801
49.909 | 0.0012413 | 0.91 | 0.0011296
49.91 | 0.0012255 | 0.9 | 0.0011029
49.911 | 0.0011465 | 0.89 | 0.0010204
49.912 | 0.0013784 | 0.88 | 0.001213
49.913 | 0.0014589 | 0.87 | 0.0012692
49.914 | 0.001277 | 0.86 | 0.0010982
49.915 | 0.0014968 | 0.85 | 0.0012723
49.916 | 0.00175 | 0.84 | 0.00147
49.917 | 0.0015131 | 0.83 | 0.0012558
49.918 | 0.0017039 | 0.82 | 0.0013972
49.919 | 0.0021092 | 0.81 | 0.0017084
49.92 | 0.0018103 | 0.8 | 0.0014483
49.921 | 0.0019245 | 0.79 | 0.0015204
49.922 | 0.0022876 | 0.78 | 0.0017843
49.923 | 0.001983 | 0.77 | 0.0015269
49.924 | 0.0020298 | 0.76 | 0.0015427
49.925 | 0.0026371 | 0.75 | 0.0019778
49.926 | 0.0024552 | 0.74 | 0.0018169
49.927 | 0.0022973 | 0.73 | 0.001677
49.928 | 0.0028221 | 0.72 | 0.0020319
49.929 | 0.0029081 | 0.71 | 0.0020647
49.93 | 0.0026197 | 0.7 | 0.0018338
49.931 | 0.0030977 | 0.69 | 0.0021374
49.932 | 0.003359 | 0.68 | 0.0022841
49.933 | 0.0027935 | 0.67 | 0.0018716
49.934 | 0.0031694 | 0.66 | 0.0020918
49.935 | 0.0037565 | 0.65 | 0.0024418
49.936 | 0.0031717 | 0.64 | 0.0020299
49.937 | 0.0033133 | 0.63 | 0.0020874
49.938 | 0.0041792 | 0.62 | 0.0025911
49.939 | 0.0036698 | 0.61 | 0.0022386
49.94 | 0.0037155 | 0.6 | 0.0022293
49.941 | 0.0046155 | 0.59 | 0.0027231
49.942 | 0.0039892 | 0.58 | 0.0023137
49.943 | 0.0037809 | 0.57 | 0.0021551
49.944 | 0.0045682 | 0.56 | 0.0025582
49.945 | 0.0045032 | 0.55 | 0.0024768
49.946 | 0.0041475 | 0.54 | 0.0022396
49.947 | 0.0048183 | 0.53 | 0.0025537
49.948 | 0.0051252 | 0.52 | 0.0026651
49.949 | 0.0044614 | 0.51 | 0.0022753
49.95 | 0.0051159 | 0.5 | 0.002558
49.951 | 0.005863 | 0.49 | 0.0028729
49.952 | 0.0048225 | 0.48 | 0.0023148
49.953 | 0.0049905 | 0.47 | 0.0023455
49.954 | 0.0060182 | 0.46 | 0.0027684
49.955 | 0.0052344 | 0.45 | 0.0023555
49.956 | 0.0052313 | 0.44 | 0.0023018
49.957 | 0.0064289 | 0.43 | 0.0027644
49.958 | 0.0056555 | 0.42 | 0.0023753
49.959 | 0.0054337 | 0.41 | 0.0022278
49.96 | 0.0066209 | 0.4 | 0.0026484
49.961 | 0.0061827 | 0.39 | 0.0024113
49.962 | 0.0054639 | 0.38 | 0.0020763
49.963 | 0.0063012 | 0.37 | 0.0023314
49.964 | 0.0066282 | 0.36 | 0.0023862
49.965 | 0.0057086 | 0.35 | 0.001998
49.966 | 0.0065125 | 0.34 | 0.0022143
49.967 | 0.0074701 | 0.33 | 0.0024651
49.968 | 0.0061943 | 0.32 | 0.0019822
49.969 | 0.006732 | 0.31 | 0.0020869
49.97 | 0.0084026 | 0.3 | 0.0025208
49.971 | 0.0069062 | 0.29 | 0.0020028
49.972 | 0.0066557 | 0.28 | 0.0018636
49.973 | 0.0079408 | 0.27 | 0.002144
49.974 | 0.006984 | 0.26 | 0.0018158
49.975 | 0.0067726 | 0.25 | 0.0016932
49.976 | 0.0081436 | 0.24 | 0.0019545
49.977 | 0.0075355 | 0.23 | 0.0017332
49.978 | 0.0067026 | 0.22 | 0.0014746
49.979 | 0.0080949 | 0.21 | 0.0016999
49.98 | 0.0083844 | 0.2 | 0.0016769
49.981 | 0.0071365 | 0.19 | 0.0013559
49.982 | 0.0078185 | 0.18 | 0.0014073
49.983 | 0.0086352 | 0.17 | 0.001468
49.984 | 0.0070447 | 0.16 | 0.0011272
49.985 | 0.007743 | 0.15 | 0.0011615
49.986 | 0.0091461 | 0.14 | 0.0012805
49.987 | 0.0074395 | 0.13 | 0.00096714
49.988 | 0.0076575 | 0.12 | 0.0009189
49.989 | 0.0095766 | 0.11 | 0.0010534
49.99 | 0.0085334 | 0.1 | 0.00085334
49.991 | 0.0079656 | 0.09 | 0.0007169
49.992 | 0.0094937 | 0.08 | 0.0007595
49.993 | 0.0085512 | 0.07 | 0.00059858
49.994 | 0.0077322 | 0.06 | 0.00046393
49.995 | 0.0090203 | 0.05 | 0.00045102
49.996 | 0.009181 | 0.04 | 0.00036724
49.997 | 0.0078138 | 0.03 | 0.00023442
49.998 | 0.0087649 | 0.02 | 0.0001753
49.999 | 0.009863 | 0.01 | 9.863e-05
50 | 0.0079412 | 4.6896e-12 | 3.7241e-14
50.001 | 0.0081967 | -0.01 | -8.1967e-05
50.002 | 0.0094848 | -0.02 | -0.0001897
50.003 | 0.007575 | -0.03 | -0.00022725
50.004 | 0.0077151 | -0.04 | -0.00030861
50.005 | 0.0093788 | -0.05 | -0.00046894
50.006 | 0.0080527 | -0.06 | -0.00048316
50.007 | 0.0074844 | -0.07 | -0.00052391
50.008 | 0.0091887 | -0.08 | -0.0007351
50.009 | 0.0086097 | -0.09 | -0.00077487
50.01 | 0.0077074 | -0.1 | -0.00077074
50.011 | 0.0089348 | -0.11 | -0.00098283
50.012 | 0.0088353 | -0.12 | -0.0010602
50.013 | 0.0071829 | -0.13 | -0.00093378
50.014 | 0.0082059 | -0.14 | -0.0011488
50.015 | 0.0090738 | -0.15 | -0.0013611
50.016 | 0.0072476 | -0.16 | -0.0011596
50.017 | 0.0076304 | -0.17 | -0.0012972
50.018 | 0.0090323 | -0.18 | -0.0016258
50.019 | 0.007479 | -0.19 | -0.001421
50.02 | 0.0075851 | -0.2 | -0.001517
50.021 | 0.008996 | -0.21 | -0.0018892
50.022 | 0.0072909 | -0.22 | -0.001604
50.023 | 0.0067026 | -0.23 | -0.0015416
50.024 | 0.0078866 | -0.24 | -0.0018928
50.025 | 0.0073524 | -0.25 | -0.0018381
50.026 | 0.0064324 | -0.26 | -0.0016724
50.027 | 0.0073157 | -0.27 | -0.0019752
50.028 | 0.0075599 | -0.28 | -0.0021168
50.029 | 0.0064328 | -0.29 | -0.0018655
50.03 | 0.0072696 | -0.3 | -0.0021809
50.031 | 0.0078796 | -0.31 | -0.0024427
50.032 | 0.005978 | -0.32 | -0.0019129
50.033 | 0.0062501 | -0.33 | -0.0020625
50.034 | 0.0072015 | -0.34 | -0.0024485
50.035 | 0.0059063 | -0.35 | -0.0020672
50.036 | 0.0058181 | -0.36 | -0.0020945
50.037 | 0.006972 | -0.37 | -0.0025796
50.038 | 0.0058727 | -0.38 | -0.0022316
50.039 | 0.0054864 | -0.39 | -0.0021397
50.04 | 0.006684 | -0.4 | -0.0026736
50.041 | 0.0060472 | -0.41 | -0.0024794
50.042 | 0.0049809 | -0.42 | -0.002092
50.043 | 0.0057248 | -0.43 | -0.0024617
50.044 | 0.0056846 | -0.44 | -0.0025012
50.045 | 0.0046685 | -0.45 | -0.0021008
50.046 | 0.0051872 | -0.46 | -0.0023861
50.047 | 0.0056338 | -0.47 | -0.0026479
50.048 | 0.0044726 | -0.48 | -0.0021469
50.049 | 0.0046573 | -0.49 | -0.0022821
50.05 | 0.0056377 | -0.5 | -0.0028189
50.051 | 0.0044502 | -0.51 | -0.0022696
50.052 | 0.0042249 | -0.52 | -0.0021969
50.053 | 0.0049046 | -0.53 | -0.0025994
50.054 | 0.0042535 | -0.54 | -0.0022969
50.055 | 0.0039474 | -0.55 | -0.0021711
50.056 | 0.0045853 | -0.56 | -0.0025677
50.057 | 0.0041947 | -0.57 | -0.002391
50.058 | 0.0036176 | -0.58 | -0.0020982
50.059 | 0.004209 | -0.59 | -0.0024833
50.06 | 0.0042605 | -0.6 | -0.0025563
50.061 | 0.0033397 | -0.61 | -0.0020372
50.062 | 0.0035336 | -0.62 | -0.0021908
50.063 | 0.0037755 | -0.63 | -0.0023786
50.064 | 0.00297 | -0.64 | -0.0019008
50.065 | 0.0030772 | -0.65 | -0.0020002
50.066 | 0.0034937 | -0.66 | -0.0023059
50.067 | 0.0027881 | -0.67 | -0.001868
50.068 | 0.0026762 | -0.68 | -0.0018198
50.069 | 0.0033095 | -0.69 | -0.0022835
50.07 | 0.0028907 | -0.7 | -0.0020235
50.071 | 0.0025423 | -0.71 | -0.001805
50.072 | 0.0028999 | -0.72 | -0.002088
50.073 | 0.0026336 | -0.73 | -0.0019226
50.074 | 0.0022261 | -0.74 | -0.0016473
50.075 | 0.0025651 | -0.75 | -0.0019238
50.076 | 0.0026147 | -0.76 | -0.0019872
50.077 | 0.0019497 | -0.77 | -0.0015013
50.078 | 0.0021784 | -0.78 | -0.0016992
50.079 | 0.0024378 | -0.79 | -0.0019259
50.08 | 0.0019032 | -0.8 | -0.0015226
50.081 | 0.0019358 | -0.81 | -0.001568
50.082 | 0.0021366 | -0.82 | -0.001752
50.083 | 0.0016381 | -0.83 | -0.0013596
50.084 | 0.0015382 | -0.84 | -0.0012921
50.085 | 0.0018479 | -0.85 | -0.0015707
50.086 | 0.001587 | -0.86 | -0.0013648
50.087 | 0.0013466 | -0.87 | -0.0011716
50.088 | 0.0015599 | -0.88 | -0.0013727
50.089 | 0.0014864 | -0.89 | -0.0013229
50.09 | 0.0012135 | -0.9 | -0.0010921
50.091 | 0.0012959 | -0.91 | -0.0011793
50.092 | 0.0013466 | -0.92 | -0.0012389
50.093 | 0.0010315 | -0.93 | -0.00095934
50.094 | 0.0010474 | -0.94 | -0.00098457
50.095 | 0.0011755 | -0.95 | -0.0011168
50.096 | 0.00092085 | -0.96 | -0.00088401
50.097 | 0.00089569 | -0.97 | -0.00086882
50.098 | 0.0010389 | -0.98 | -0.0010181
50.099 | 0.00082601 | -0.99 | -0.00081775
50.1 | 0.00073273 | -1 | -0.00073273
50.101 | 0.0008624 | -1 | -0.0008624 | -1.01
50.102 | 0.00072537 | -1 | -0.00072537 | -1.02
50.103 | 0.00059454 | -1 | -0.00059454 | -1.03
50.104 | 0.00064525 | -1 | -0.00064525 | -1.04
50.105 | 0.00066344 | -1 | -0.00066344 | -1.05
50.106 | 0.00051984 | -1 | -0.00051984 | -1.06
50.107 | 0.00054655 | -1 | -0.00054655 | -1.07
50.108 | 0.00054926 | -1 | -0.00054926 | -1.08
50.109 | 0.0004672 | -1 | -0.0004672 | -1.09
50.11 | 0.000485 | -1 | -0.000485 | -1.1
50.111 | 0.00051906 | -1 | -0.00051906 | -1.11
50.112 | 0.00041997 | -1 | -0.00041997 | -1.12
50.113 | 0.00038785 | -1 | -0.00038785 | -1.13
50.114 | 0.00045094 | -1 | -0.00045094 | -1.14
50.115 | 0.00037585 | -1 | -0.00037585 | -1.15
50.116 | 0.00031314 | -1 | -0.00031314 | -1.16
50.117 | 0.00036385 | -1 | -0.00036385 | -1.17
50.118 | 0.00032979 | -1 | -0.00032979 | -1.18
50.119 | 0.00028798 | -1 | -0.00028798 | -1.19
50.12 | 0.00032862 | -1 | -0.00032862 | -1.2
50.121 | 0.00030617 | -1 | -0.00030617 | -1.21
50.122 | 0.00023379 | -1 | -0.00023379 | -1.22
50.123 | 0.00023108 | -1 | -0.00023108 | -1.23
50.124 | 0.00028605 | -1 | -0.00028605 | -1.24
50.125 | 0.00022179 | -1 | -0.00022179 | -1.25
50.126 | 0.00020631 | -1 | -0.00020631 | -1.26
50.127 | 0.00022876 | -1 | -0.00022876 | -1.27
50.128 | 0.00020825 | -1 | -0.00020825 | -1.28
50.129 | 0.00016412 | -1 | -0.00016412 | -1.29
50.13 | 0.00022682 | -1 | -0.00022682 | -1.3
50.131 | 0.00015986 | -1 | -0.00015986 | -1.31
50.132 | 0.00014593 | -1 | -0.00014593 | -1.32
50.133 | 0.00016257 | -1 | -0.00016257 | -1.33
50.134 | 0.00015251 | -1 | -0.00015251 | -1.34
50.135 | 0.00011419 | -1 | -0.00011419 | -1.35
50.136 | 0.00013044 | -1 | -0.00013044 | -1.36
50.137 | 0.00012425 | -1 | -0.00012425 | -1.37
50.138 | 9.6381e-05 | -1 | -9.6381e-05 | -1.38
50.139 | 0.00010451 | -1 | -0.00010451 | -1.39
50.14 | 0.00013548 | -1 | -0.00013548 | -1.4
50.141 | 9.0575e-05 | -1 | -9.0575e-05 | -1.41
50.142 | 7.9737e-05 | -1 | -7.9737e-05 | -1.42
50.143 | 0.00010451 | -1 | -0.00010451 | -1.43
50.144 | 8.1285e-05 | -1 | -8.1285e-05 | -1.44
50.145 | 5.5351e-05 | -1 | -5.5351e-05 | -1.45
50.146 | 7.006e-05 | -1 | -7.006e-05 | -1.46
50.147 | 5.8061e-05 | -1 | -5.8061e-05 | -1.47
50.148 | 5.2255e-05 | -1 | -5.2255e-05 | -1.48
50.149 | 5.69e-05 | -1 | -5.69e-05 | -1.49
50.15 | 5.7674e-05 | -1 | -5.7674e-05 | -1.5
50.151 | 3.7933e-05 | -1 | -3.7933e-05 | -1.51
50.152 | 4.2965e-05 | -1 | -4.2965e-05 | -1.52
50.153 | 4.8384e-05 | -1 | -4.8384e-05 | -1.53
50.154 | 3.4449e-05 | -1 | -3.4449e-05 | -1.54
50.155 | 3.9094e-05 | -1 | -3.9094e-05 | -1.55
50.156 | 4.8384e-05 | -1 | -4.8384e-05 | -1.56
50.157 | 3.4837e-05 | -1 | -3.4837e-05 | -1.57
50.158 | 2.8643e-05 | -1 | -2.8643e-05 | -1.58
50.159 | 4.0256e-05 | -1 | -4.0256e-05 | -1.59
50.16 | 3.0192e-05 | -1 | -3.0192e-05 | -1.6
50.161 | 2.6321e-05 | -1 | -2.6321e-05 | -1.61
50.162 | 2.3999e-05 | -1 | -2.3999e-05 | -1.62
50.163 | 2.2837e-05 | -1 | -2.2837e-05 | -1.63
50.164 | 2.7095e-05 | -1 | -2.7095e-05 | -1.64
50.165 | 2.516e-05 | -1 | -2.516e-05 | -1.65
50.166 | 2.7482e-05 | -1 | -2.7482e-05 | -1.66
50.167 | 2.7869e-05 | -1 | -2.7869e-05 | -1.67
50.168 | 2.3611e-05 | -1 | -2.3611e-05 | -1.68
50.169 | 4.103e-05 | -1 | -4.103e-05 | -1.69
50.17 | 2.6321e-05 | -1 | -2.6321e-05 | -1.7
50.171 | 2.8643e-05 | -1 | -2.8643e-05 | -1.71
50.172 | 3.2514e-05 | -1 | -3.2514e-05 | -1.72
50.173 | 2.7482e-05 | -1 | -2.7482e-05 | -1.73
50.174 | 2.8643e-05 | -1 | -2.8643e-05 | -1.74
50.175 | 2.0902e-05 | -1 | -2.0902e-05 | -1.75
50.176 | 1.7418e-05 | -1 | -1.7418e-05 | -1.76
50.177 | 1.9741e-05 | -1 | -1.9741e-05 | -1.77
50.178 | 2.2063e-05 | -1 | -2.2063e-05 | -1.78
50.179 | 2.4386e-05 | -1 | -2.4386e-05 | -1.79
50.18 | 1.7418e-05 | -1 | -1.7418e-05 | -1.8
50.181 | 1.7805e-05 | -1 | -1.7805e-05 | -1.81
50.182 | 1.7031e-05 | -1 | -1.7031e-05 | -1.82
50.183 | 1.6644e-05 | -1 | -1.6644e-05 | -1.83
50.184 | 1.587e-05 | -1 | -1.587e-05 | -1.84
50.185 | 2.1676e-05 | -1 | -2.1676e-05 | -1.85
50.186 | 1.5096e-05 | -1 | -1.5096e-05 | -1.86
50.187 | 8.9027e-06 | -1 | -8.9027e-06 | -1.87
50.188 | 1.587e-05 | -1 | -1.587e-05 | -1.88
50.189 | 1.3548e-05 | -1 | -1.3548e-05 | -1.89
50.19 | 1.1225e-05 | -1 | -1.1225e-05 | -1.9
50.191 | 1.3935e-05 | -1 | -1.3935e-05 | -1.91
50.192 | 1.3548e-05 | -1 | -1.3548e-05 | -1.92
50.193 | 1.1999e-05 | -1 | -1.1999e-05 | -1.93
50.194 | 6.9673e-06 | -1 | -6.9673e-06 | -1.94
50.195 | 6.1932e-06 | -1 | -6.1932e-06 | -1.95
50.196 | 1.1225e-05 | -1 | -1.1225e-05 | -1.96
50.197 | 7.3544e-06 | -1 | -7.3544e-06 | -1.97
50.198 | 1.0838e-05 | -1 | -1.0838e-05 | -1.98
50.199 | 6.9673e-06 | -1 | -6.9673e-06 | -1.99
50.2 | 5.419e-06 | -1 | -5.419e-06 | -2
50.201 | 0.00010838 | -1 | -0.00010838 | -2.01
1

## Prim_Data (hidden)
|  | Primær reserve: | 1 | MW
|  | Øvre reguleringsbånd: | 0.18 | Hz
|  | Øvre dødbånd: | 0 | Hz
|  | Nedre dødbånd: | 0 | Hz
|  | Nedre reguleringsbånd: | -0.18 | Hz
1000
|  |  |  | 0.047004 |  | Positive energy content = 47,004 [kWh/h]
| Frequency |  |  | -0.050558 |  | Negative energy content = -50,558 [kWh/h]
| [Hz] | [Hz] | [MW] | [MWh/h]
|  | Distribution | Power Response | Energy Response | Not required
| 49.8 | 1.1598e-05 | 1 | 1.1598e-05
| 49.801 | 0 | 1 | 0
| 49.802 | 0 | 1 | 0
| 49.803 | 0 | 1 | 0
| 49.804 | 0 | 1 | 0
| 49.805 | 0 | 1 | 0
| 49.806 | 0 | 1 | 0
| 49.807 | 0 | 1 | 0
| 49.808 | 0 | 1 | 0
| 49.809 | 0 | 1 | 0
| 49.81 | 0 | 1 | 0
| 49.811 | 0 | 1 | 0
| 49.812 | 0 | 1 | 0
| 49.813 | 0 | 1 | 0
| 49.814 | 0 | 1 | 0
| 49.815 | 0 | 1 | 0
| 49.816 | 0 | 1 | 0
| 49.817 | 0 | 1 | 0
| 49.818 | 0 | 1 | 0
| 49.819 | 0 | 1 | 0
| 49.82 | 0 | 1 | 0
| 49.821 | 0 | 0.99444 | 0
| 49.822 | 0 | 0.98889 | 0
| 49.823 | 0 | 0.98333 | 0
| 49.824 | 0 | 0.97778 | 0
| 49.825 | 0 | 0.97222 | 0
| 49.826 | 0 | 0.96667 | 0
| 49.827 | 0 | 0.96111 | 0
| 49.828 | 0 | 0.95556 | 0
| 49.829 | 0 | 0.95 | 0
| 49.83 | 0 | 0.94444 | 0
| 49.831 | 0 | 0.93889 | 0
| 49.832 | 0 | 0.93333 | 0
| 49.833 | 0 | 0.92778 | 0
| 49.834 | 0 | 0.92222 | 0
| 49.835 | 0 | 0.91667 | 0
| 49.836 | 0 | 0.91111 | 0
| 49.837 | 0 | 0.90556 | 0
| 49.838 | 0 | 0.9 | 0
| 49.839 | 0 | 0.89444 | 0
| 49.84 | 0 | 0.88889 | 0
| 49.841 | 0 | 0.88333 | 0
| 49.842 | 0 | 0.87778 | 0
| 49.843 | 0 | 0.87222 | 0
| 49.844 | 0 | 0.86667 | 0
| 49.845 | 0 | 0.86111 | 0
| 49.846 | 0 | 0.85556 | 0
| 49.847 | 0 | 0.85 | 0
| 49.848 | 0 | 0.84444 | 0
| 49.849 | 0 | 0.83889 | 0
| 49.85 | 0 | 0.83333 | 0
| 49.851 | 0 | 0.82778 | 0
| 49.852 | 0 | 0.82222 | 0
| 49.853 | 0 | 0.81667 | 0
| 49.854 | 0 | 0.81111 | 0
| 49.855 | 0 | 0.80556 | 0
| 49.856 | 0 | 0.8 | 0
| 49.857 | 0 | 0.79444 | 0
| 49.858 | 0 | 0.78889 | 0
| 49.859 | 0 | 0.78333 | 0
| 49.86 | 0 | 0.77778 | 0
| 49.861 | 0 | 0.77222 | 0
| 49.862 | 0 | 0.76667 | 0
| 49.863 | 0 | 0.76111 | 0
| 49.864 | 0 | 0.75556 | 0
| 49.865 | 0 | 0.75 | 0
| 49.866 | 0 | 0.74444 | 0
| 49.867 | 0 | 0.73889 | 0
| 49.868 | 7.4823e-07 | 0.73333 | 5.487e-07
| 49.869 | 1.1223e-06 | 0.72778 | 8.1682e-07
| 49.87 | 7.4823e-07 | 0.72222 | 5.4039e-07
| 49.871 | 3.7412e-07 | 0.71667 | 2.6812e-07
| 49.872 | 7.4823e-07 | 0.71111 | 5.3208e-07
| 49.873 | 3.367e-06 | 0.70556 | 2.3756e-06
| 49.874 | 2.6188e-06 | 0.7 | 1.8332e-06
| 49.875 | 4.8635e-06 | 0.69444 | 3.3774e-06
| 49.876 | 4.1153e-06 | 0.68889 | 2.835e-06
| 49.877 | 6.36e-06 | 0.68333 | 4.346e-06
| 49.878 | 4.4894e-06 | 0.67778 | 3.0428e-06
| 49.879 | 3.7412e-06 | 0.67222 | 2.5149e-06
| 49.88 | 6.36e-06 | 0.66667 | 4.24e-06
| 49.881 | 8.2306e-06 | 0.66111 | 5.4413e-06
| 49.882 | 1.0849e-05 | 0.65556 | 7.1124e-06
| 49.883 | 9.727e-06 | 0.65 | 6.3226e-06
| 49.884 | 8.6047e-06 | 0.64444 | 5.5452e-06
| 49.885 | 1.0475e-05 | 0.63889 | 6.6925e-06
| 49.886 | 8.9788e-06 | 0.63333 | 5.6866e-06
| 49.887 | 1.4591e-05 | 0.62778 | 9.1596e-06
| 49.888 | 1.5713e-05 | 0.62222 | 9.7769e-06
| 49.889 | 1.7209e-05 | 0.61667 | 1.0612e-05
| 49.89 | 2.1325e-05 | 0.61111 | 1.3032e-05
| 49.891 | 2.731e-05 | 0.60556 | 1.6538e-05
| 49.892 | 2.1325e-05 | 0.6 | 1.2795e-05
| 49.893 | 2.4318e-05 | 0.59444 | 1.4455e-05
| 49.894 | 3.3296e-05 | 0.58889 | 1.9608e-05
| 49.895 | 3.0303e-05 | 0.58333 | 1.7677e-05
| 49.896 | 2.6562e-05 | 0.57778 | 1.5347e-05
| 49.897 | 3.18e-05 | 0.57222 | 1.8197e-05
| 49.898 | 2.5066e-05 | 0.56667 | 1.4204e-05
| 49.899 | 3.18e-05 | 0.56111 | 1.7843e-05
| 49.9 | 3.0678e-05 | 0.55556 | 1.7043e-05
| 49.901 | 3.8908e-05 | 0.55 | 2.1399e-05
| 49.902 | 3.7412e-05 | 0.54444 | 2.0369e-05
| 49.903 | 3.8534e-05 | 0.53889 | 2.0766e-05
| 49.904 | 4.2275e-05 | 0.53333 | 2.2547e-05
| 49.905 | 4.2649e-05 | 0.52778 | 2.2509e-05
| 49.906 | 5.1254e-05 | 0.52222 | 2.6766e-05
| 49.907 | 6.9586e-05 | 0.51667 | 3.5953e-05
| 49.908 | 7.183e-05 | 0.51111 | 3.6713e-05
| 49.909 | 7.4823e-05 | 0.50556 | 3.7827e-05
| 49.91 | 5.9859e-05 | 0.5 | 2.9929e-05
| 49.911 | 7.5946e-05 | 0.49444 | 3.7551e-05
| 49.912 | 8.3802e-05 | 0.48889 | 4.097e-05
| 49.913 | 8.904e-05 | 0.48333 | 4.3036e-05
| 49.914 | 8.8666e-05 | 0.47778 | 4.2362e-05
| 49.915 | 0.00010251 | 0.47222 | 4.8407e-05
| 49.916 | 9.6148e-05 | 0.46667 | 4.4869e-05
| 49.917 | 0.00010887 | 0.46111 | 5.02e-05
| 49.918 | 0.00012533 | 0.45556 | 5.7094e-05
| 49.919 | 0.00013281 | 0.45 | 5.9765e-05
| 49.92 | 0.00012271 | 0.44444 | 5.4538e-05
| 49.921 | 0.00015675 | 0.43889 | 6.8798e-05
| 49.922 | 0.00017471 | 0.43333 | 7.5709e-05
| 49.923 | 0.00015638 | 0.42778 | 6.6896e-05
| 49.924 | 0.0001691 | 0.42222 | 7.1398e-05
| 49.925 | 0.0001908 | 0.41667 | 7.95e-05
| 49.926 | 0.00021624 | 0.41111 | 8.8898e-05
| 49.927 | 0.00020502 | 0.40556 | 8.3145e-05
| 49.928 | 0.00023682 | 0.4 | 9.4726e-05
| 49.929 | 0.00024617 | 0.39444 | 9.71e-05
| 49.93 | 0.00025215 | 0.38889 | 9.806e-05
| 49.931 | 0.0002529 | 0.38333 | 9.6946e-05
| 49.932 | 0.00026824 | 0.37778 | 0.00010134
| 49.933 | 0.00027647 | 0.37222 | 0.00010291
| 49.934 | 0.00029817 | 0.36667 | 0.00010933
| 49.935 | 0.00033147 | 0.36111 | 0.0001197
| 49.936 | 0.00039694 | 0.35556 | 0.00014113
| 49.937 | 0.00045305 | 0.35 | 0.00015857
| 49.938 | 0.00045006 | 0.34444 | 0.00015502
| 49.939 | 0.00050169 | 0.33889 | 0.00017002
| 49.94 | 0.00053237 | 0.33333 | 0.00017746
| 49.941 | 0.0005507 | 0.32778 | 0.00018051
| 49.942 | 0.00060757 | 0.32222 | 0.00019577
| 49.943 | 0.00064647 | 0.31667 | 0.00020472
| 49.944 | 0.00070259 | 0.31111 | 0.00021858
| 49.945 | 0.00074374 | 0.30556 | 0.00022725
| 49.946 | 0.00081707 | 0.3 | 0.00024512
| 49.947 | 0.00089863 | 0.29444 | 0.0002646
| 49.948 | 0.00090499 | 0.28889 | 0.00026144
| 49.949 | 0.0010501 | 0.28333 | 0.00029754
| 49.95 | 0.0010924 | 0.27778 | 0.00030345
| 49.951 | 0.0012398 | 0.27222 | 0.00033751
| 49.952 | 0.0012698 | 0.26667 | 0.0003386
| 49.953 | 0.0013824 | 0.26111 | 0.00036095
| 49.954 | 0.0015286 | 0.25556 | 0.00039065
| 49.955 | 0.0015844 | 0.25 | 0.0003961
| 49.956 | 0.0017355 | 0.24444 | 0.00042424
| 49.957 | 0.0019181 | 0.23889 | 0.00045821
| 49.958 | 0.002076 | 0.23333 | 0.00048439
| 49.959 | 0.0022844 | 0.22778 | 0.00052033
| 49.96 | 0.0025709 | 0.22222 | 0.00057132
| 49.961 | 0.0027677 | 0.21667 | 0.00059967
| 49.962 | 0.0030146 | 0.21111 | 0.00063642
| 49.963 | 0.0032926 | 0.20556 | 0.00067681
| 49.964 | 0.0036652 | 0.2 | 0.00073304
| 49.965 | 0.0039346 | 0.19444 | 0.00076506
| 49.966 | 0.0042881 | 0.18889 | 0.00080998
| 49.967 | 0.0047359 | 0.18333 | 0.00086826
| 49.968 | 0.0050315 | 0.17778 | 0.00089449
| 49.969 | 0.0054924 | 0.17222 | 0.00094591
| 49.97 | 0.0061396 | 0.16667 | 0.0010233
| 49.971 | 0.0067352 | 0.16111 | 0.0010851
| 49.972 | 0.0072515 | 0.15556 | 0.001128
| 49.973 | 0.0080128 | 0.15 | 0.0012019
| 49.974 | 0.0088441 | 0.14444 | 0.0012775
| 49.975 | 0.0095302 | 0.13889 | 0.0013236
| 49.976 | 0.010249 | 0.13333 | 0.0013665
| 49.977 | 0.010956 | 0.12778 | 0.0014
| 49.978 | 0.011629 | 0.12222 | 0.0014214
| 49.979 | 0.012198 | 0.11667 | 0.0014232
| 49.98 | 0.012581 | 0.11111 | 0.0013979
| 49.981 | 0.013143 | 0.10556 | 0.0013873
| 49.982 | 0.013501 | 0.1 | 0.0013501
| 49.983 | 0.014206 | 0.094444 | 0.0013416
| 49.984 | 0.01453 | 0.088889 | 0.0012916
| 49.985 | 0.014854 | 0.083333 | 0.0012378
| 49.986 | 0.015255 | 0.077778 | 0.0011865
| 49.987 | 0.01566 | 0.072222 | 0.001131
| 49.988 | 0.016121 | 0.066667 | 0.0010747
| 49.989 | 0.016541 | 0.061111 | 0.0010108
| 49.99 | 0.016836 | 0.055556 | 0.00093533
| 49.991 | 0.017094 | 0.05 | 0.00085471
| 49.992 | 0.017292 | 0.044444 | 0.00076853
| 49.993 | 0.017123 | 0.038889 | 0.00066588
| 49.994 | 0.017194 | 0.033333 | 0.00057312
| 49.995 | 0.017176 | 0.027778 | 0.00047711
| 49.996 | 0.017312 | 0.022222 | 0.00038472
| 49.997 | 0.017356 | 0.016667 | 0.00028927
| 49.998 | 0.017277 | 0.011111 | 0.00019196
| 49.999 | 0.01723 | 0.0055556 | 9.5724e-05
| 50 | 0.017456 | -5.5659e-12 | -9.716e-14
| 50.001 | 0.017345 | -0.0055556 | -9.636e-05
| 50.002 | 0.017214 | -0.011111 | -0.00019126
| 50.003 | 0.01728 | -0.016667 | -0.00028799
| 50.004 | 0.01713 | -0.022222 | -0.00038068
| 50.005 | 0.017257 | -0.027778 | -0.00047936
| 50.006 | 0.017181 | -0.033333 | -0.00057268
| 50.007 | 0.017234 | -0.038889 | -0.0006702
| 50.008 | 0.017154 | -0.044444 | -0.0007624
| 50.009 | 0.016949 | -0.05 | -0.00084745
| 50.01 | 0.016696 | -0.055556 | -0.00092754
| 50.011 | 0.016801 | -0.061111 | -0.0010267
| 50.012 | 0.016722 | -0.066667 | -0.0011148
| 50.013 | 0.016313 | -0.072222 | -0.0011782
| 50.014 | 0.016234 | -0.077778 | -0.0012626
| 50.015 | 0.01592 | -0.083333 | -0.0013266
| 50.016 | 0.015361 | -0.088889 | -0.0013654
| 50.017 | 0.015036 | -0.094444 | -0.0014201
| 50.018 | 0.014554 | -0.1 | -0.0014554
| 50.019 | 0.01416 | -0.10556 | -0.0014947
| 50.02 | 0.013521 | -0.11111 | -0.0015023
| 50.021 | 0.01298 | -0.11667 | -0.0015143
| 50.022 | 0.012482 | -0.12222 | -0.0015256
| 50.023 | 0.011755 | -0.12778 | -0.001502
| 50.024 | 0.010962 | -0.13333 | -0.0014615
| 50.025 | 0.010246 | -0.13889 | -0.001423
| 50.026 | 0.0097551 | -0.14444 | -0.0014091
| 50.027 | 0.0090596 | -0.15 | -0.0013589
| 50.028 | 0.0081849 | -0.15556 | -0.0012732
| 50.029 | 0.0075691 | -0.16111 | -0.0012195
| 50.03 | 0.006941 | -0.16667 | -0.0011568
| 50.031 | 0.0062133 | -0.17222 | -0.0010701
| 50.032 | 0.0057236 | -0.17778 | -0.0010175
| 50.033 | 0.0052821 | -0.18333 | -0.00096839
| 50.034 | 0.0049642 | -0.18889 | -0.00093767
| 50.035 | 0.0043936 | -0.19444 | -0.00085432
| 50.036 | 0.0039619 | -0.2 | -0.00079238
| 50.037 | 0.0035915 | -0.20556 | -0.00073826
| 50.038 | 0.0032645 | -0.21111 | -0.00068918
| 50.039 | 0.0029522 | -0.21667 | -0.00063963
| 50.04 | 0.0027049 | -0.22222 | -0.00060108
| 50.041 | 0.0025447 | -0.22778 | -0.00057964
| 50.042 | 0.0023188 | -0.23333 | -0.00054105
| 50.043 | 0.0021403 | -0.23889 | -0.0005113
| 50.044 | 0.0019798 | -0.24444 | -0.00048396
| 50.045 | 0.0018115 | -0.25 | -0.00045287
| 50.046 | 0.0016618 | -0.25556 | -0.00042469
| 50.047 | 0.0015616 | -0.26111 | -0.00040774
| 50.048 | 0.001514 | -0.26667 | -0.00040375
| 50.049 | 0.0013827 | -0.27222 | -0.00037641
| 50.05 | 0.0012956 | -0.27778 | -0.00035988
| 50.051 | 0.0011553 | -0.28333 | -0.00032733
| 50.052 | 0.0010954 | -0.28889 | -0.00031645
| 50.053 | 0.0010079 | -0.29444 | -0.00029676
| 50.054 | 0.00098393 | -0.3 | -0.00029518
| 50.055 | 0.00087394 | -0.30556 | -0.00026704
| 50.056 | 0.00081221 | -0.31111 | -0.00025269
| 50.057 | 0.0007733 | -0.31667 | -0.00024488
| 50.058 | 0.00072466 | -0.32222 | -0.0002335
| 50.059 | 0.00069361 | -0.32778 | -0.00022735
| 50.06 | 0.00059859 | -0.33333 | -0.00019953
| 50.061 | 0.00056791 | -0.33889 | -0.00019246
| 50.062 | 0.00051815 | -0.34444 | -0.00017847
| 50.063 | 0.00048411 | -0.35 | -0.00016944
| 50.064 | 0.00046428 | -0.35556 | -0.00016508
| 50.065 | 0.00041751 | -0.36111 | -0.00015077
| 50.066 | 0.00039357 | -0.36667 | -0.00014431
| 50.067 | 0.00036813 | -0.37222 | -0.00013703
| 50.068 | 0.00035541 | -0.37778 | -0.00013427
| 50.069 | 0.00031201 | -0.38333 | -0.00011961
| 50.07 | 0.00027647 | -0.38889 | -0.00010752
| 50.071 | 0.00023046 | -0.39444 | -9.0902e-05
| 50.072 | 0.00020315 | -0.4 | -8.1258e-05
| 50.073 | 0.00021399 | -0.40556 | -8.6787e-05
| 50.074 | 0.00018219 | -0.41111 | -7.4902e-05
| 50.075 | 0.00017022 | -0.41667 | -7.0926e-05
| 50.076 | 0.00016947 | -0.42222 | -7.1556e-05
| 50.077 | 0.00015563 | -0.42778 | -6.6576e-05
| 50.078 | 0.00015788 | -0.43333 | -6.8413e-05
| 50.079 | 0.00014254 | -0.43889 | -6.2558e-05
| 50.08 | 0.00013019 | -0.44444 | -5.7863e-05
| 50.081 | 0.00010924 | -0.45 | -4.9159e-05
| 50.082 | 0.00011223 | -0.45556 | -5.1129e-05
| 50.083 | 0.00010326 | -0.46111 | -4.7613e-05
| 50.084 | 9.091e-05 | -0.46667 | -4.2425e-05
| 50.085 | 9.0162e-05 | -0.47222 | -4.2577e-05
| 50.086 | 8.4176e-05 | -0.47778 | -4.0218e-05
| 50.087 | 6.7715e-05 | -0.48333 | -3.2729e-05
| 50.088 | 6.36e-05 | -0.48889 | -3.1093e-05
| 50.089 | 5.9485e-05 | -0.49444 | -2.9412e-05
| 50.09 | 5.6492e-05 | -0.5 | -2.8246e-05
| 50.091 | 3.7038e-05 | -0.50556 | -1.8725e-05
| 50.092 | 4.2649e-05 | -0.51111 | -2.1799e-05
| 50.093 | 3.9282e-05 | -0.51667 | -2.0296e-05
| 50.094 | 3.0678e-05 | -0.52222 | -1.602e-05
| 50.095 | 2.6562e-05 | -0.52778 | -1.4019e-05
| 50.096 | 3.1052e-05 | -0.53333 | -1.6561e-05
| 50.097 | 3.1052e-05 | -0.53889 | -1.6733e-05
| 50.098 | 2.3569e-05 | -0.54444 | -1.2832e-05
| 50.099 | 1.7583e-05 | -0.55 | -9.6709e-06
| 50.1 | 1.6461e-05 | -0.55556 | -9.1451e-06
| 50.101 | 1.272e-05 | -0.56111 | -7.1373e-06
| 50.102 | 1.0475e-05 | -0.56667 | -5.936e-06
| 50.103 | 5.9859e-06 | -0.57222 | -3.4252e-06
| 50.104 | 7.8564e-06 | -0.57778 | -4.5393e-06
| 50.105 | 3.367e-06 | -0.58333 | -1.9641e-06
| 50.106 | 1.4965e-06 | -0.58889 | -8.8125e-07
| 50.107 | 7.4823e-07 | -0.59444 | -4.4478e-07
| 50.108 | 1.1223e-06 | -0.6 | -6.7341e-07
| 50.109 | 2.2447e-06 | -0.60556 | -1.3593e-06
| 50.11 | 1.1223e-06 | -0.61111 | -6.8588e-07
| 50.111 | 1.1223e-06 | -0.61667 | -6.9212e-07
| 50.112 | 1.1223e-06 | -0.62222 | -6.9835e-07
| 50.113 | 3.7412e-06 | -0.62778 | -2.3486e-06
| 50.114 | 3.367e-06 | -0.63333 | -2.1325e-06
| 50.115 | 1.8706e-06 | -0.63889 | -1.1951e-06
| 50.116 | 1.8706e-06 | -0.64444 | -1.2055e-06
| 50.117 | 1.4965e-06 | -0.65 | -9.727e-07
| 50.118 | 2.6188e-06 | -0.65556 | -1.7168e-06
| 50.119 | 2.6188e-06 | -0.66111 | -1.7313e-06
| 50.12 | 1.4965e-06 | -0.66667 | -9.9764e-07
| 50.121 | 1.4965e-06 | -0.67222 | -1.006e-06
| 50.122 | 3.7412e-07 | -0.67778 | -2.5357e-07
| 50.123 | 0 | -0.68333 | 0
| 50.124 | 0 | -0.68889 | 0
| 50.125 | 0 | -0.69444 | 0
| 50.126 | 0 | -0.7 | 0
| 50.127 | 0 | -0.70556 | 0
| 50.128 | 0 | -0.71111 | 0
| 50.129 | 0 | -0.71667 | 0
| 50.13 | 0 | -0.72222 | 0
| 50.131 | 0 | -0.72778 | 0
| 50.132 | 0 | -0.73333 | 0
| 50.133 | 0 | -0.73889 | 0
| 50.134 | 0 | -0.74444 | 0
| 50.135 | 0 | -0.75 | 0
| 50.136 | 0 | -0.75556 | 0
| 50.137 | 0 | -0.76111 | 0
| 50.138 | 0 | -0.76667 | 0
| 50.139 | 0 | -0.77222 | 0
| 50.14 | 0 | -0.77778 | 0
| 50.141 | 0 | -0.78333 | 0
| 50.142 | 0 | -0.78889 | 0
| 50.143 | 0 | -0.79444 | 0
| 50.144 | 0 | -0.8 | 0
| 50.145 | 3.7412e-07 | -0.80556 | -3.0137e-07
| 50.146 | 0 | -0.81111 | 0
| 50.147 | 0 | -0.81667 | 0
| 50.148 | 0 | -0.82222 | 0
| 50.149 | 0 | -0.82778 | 0
| 50.15 | 3.7412e-07 | -0.83333 | -3.1176e-07
| 50.151 | 0 | -0.83889 | 0
| 50.152 | 0 | -0.84444 | 0
| 50.153 | 0 | -0.85 | 0
| 50.154 | 0 | -0.85556 | 0
| 50.155 | 3.7412e-07 | -0.86111 | -3.2216e-07
| 50.156 | 0 | -0.86667 | 0
| 50.157 | 0 | -0.87222 | 0
| 50.158 | 0 | -0.87778 | 0
| 50.159 | 0 | -0.88333 | 0
| 50.16 | 0 | -0.88889 | 0
| 50.161 | 0 | -0.89444 | 0
| 50.162 | 0 | -0.9 | 0
| 50.163 | 0 | -0.90556 | 0
| 50.164 | 0 | -0.91111 | 0
| 50.165 | 0 | -0.91667 | 0
| 50.166 | 0 | -0.92222 | 0
| 50.167 | 0 | -0.92778 | 0
| 50.168 | 0 | -0.93333 | 0
| 50.169 | 0 | -0.93889 | 0
| 50.17 | 0 | -0.94444 | 0
| 50.171 | 0 | -0.95 | 0
| 50.172 | 0 | -0.95556 | 0
| 50.173 | 0 | -0.96111 | 0
| 50.174 | 0 | -0.96667 | 0
| 50.175 | 0 | -0.97222 | 0
| 50.176 | 0 | -0.97778 | 0
| 50.177 | 0 | -0.98333 | 0
| 50.178 | 0 | -0.98889 | 0
| 50.179 | 0 | -0.99444 | 0
| 50.18 | 0 | -1 | 0
| 50.181 | 0 | -1 | 0
| 50.182 | 0 | -1 | 0
| 50.183 | 0 | -1 | 0
| 50.184 | 0 | -1 | 0
| 50.185 | 0 | -1 | 0
| 50.186 | 0 | -1 | 0
| 50.187 | 0 | -1 | 0
| 50.188 | 0 | -1 | 0
| 50.189 | 0 | -1 | 0
| 50.19 | 0 | -1 | 0
| 50.191 | 0 | -1 | 0
| 50.192 | 0 | -1 | 0
| 50.193 | 0 | -1 | 0
| 50.194 | 0 | -1 | 0
| 50.195 | 0 | -1 | 0
| 50.196 | 0 | -1 | 0
| 50.197 | 0 | -1 | 0
| 50.198 | 0 | -1 | 0
| 50.199 | 0 | -1 | 0
| 50.2 | 1.6087e-05 | -1 | -1.6087e-05
1

## FCR_DK_W
Upper frequency limit: | 0.18 | Hz |  |  | Frequency Containment Reserve, DK-W, Capacity: | 1 | MW
Upper freq. Deadband: | 0 | Hz
Lower freq. Deadband: | 0 | Hz | Distribution for frequency is calculated from 1-second frequency measurement for all March 2017 | FCR DK-W
Lower frequency limit: | -0.18 | Hz
2 | Requirement of today with deadband
Requirement of tomorrow without deadband

## FCR-D_Diagrams
Upper frequency limit: | 0.5 | Hz |  |  | Frequency Containment Reserve - Disturbance, Capacity: | 1 | MW
Upper freq. Deadband: | 0.1 | Hz
Lower freq. Deadband: | -0.1 | Hz | Distribution for frequency is calculated from 1-second frequency measurement for all March 2017 | FCR-D
Lower frequency limit: | -0.5 | Hz
2 | Requirement of today only up capacity is bought
Requirement of tomorrow both up and down capacity is bought

## FCR-N_Diagrams
Upper frequency limit: | 0.1 | Hz |  |  | Frequency Containment Reserve - Normal Operation, Capacity: | 1 | MW
Upper freq. Deadband: | 0 | Hz
Lower freq. Deadband: | 0 | Hz | Distribution for frequency is calculated from 1-second frequency measurement for all March 2017 | FCR-N
Lower frequency limit: | -0.1 | Hz