## Ark1
Incremental capacity and non-binding indications
ID no. | Point in Danish gas transmission system | Explanation | Total capacity (GWh/h) | Booked capacity (GWh/h) | Available capacity (GWh/h) | Start (year/month) | End (year/month) | Annual (MWh/year) | Hourly capacity (kWh/h) | Daily loadfactor 0,xx (%) | Yearly profile (daily/monthly) enclosed - Yes/no ? | Request submitted to other adjacent system operator/TSO Yes/No, name | Condtitions for long term contract | Further remarks
1 | Entry "Europipe 2" | Imports from Norway | 22.0 | 10.6 | 2.8
2 | Entry "Danish North Sea", Nybro | Danish North Sea (Tyra-Nybro and South Arne-Nybro) |  | 0 | 11.4
3 | Entry "Faxe" | Imports from Poland | 3.8 | 0 | 3.8
4 | Entry Ellund | Imports from Germany | 7.4 | 3 | 4.4
5 | Entry RES | Renewable Energy Source injection in gastransmission in Denmark | technically "unlimited" | 0 | technically "unlimited"
6 | Entry Storage DK | Withdrawal from Danish storage facilities | 8.2 | 0 | 8.2
7 | Entry "New Denmark" | Any new Entry point in Denmark apart from RES (i.e. LNG or onshore gasfield) | 0 | 0 | 0
8 | Exit "Faxe" | Exports to Poland | 13.4 | 10.6 | 2.8
9 | Exit Ellund | Exports to Germany | 7.4 | 0 | 7.4
10 | Exit Storage DK | Injection to Danish storage fracilities | 4.2 | 0 | 4.2
11 | Joint Exit Zone (Sweden) | Part of Joint Exit Zone (Denmark + Sweden) | 3.4 | 0 | 3.4
12 | Joint Exit Zone "New Denmark" | Any new Market demand in Denmark (i.e. large industri or area/municipality) without connection to gastransmission system | 0 | 0 | 0
Further information per point
1 | Entry "Europipe 2" | The capacity (pipeline and receiving terminal) is technically well defined with existing assumption. However, interruptable capacity might also be offered, and therefore demand indications from all players are important
2 | Entry "Danish North Sea", Nybro | Potential and possible demand from known fields/platforms supplying gas through the existing two pipelines are well known. However, new fields might be developed, and therefore further demand indications from producers are important
3 | Entry "Faxe" | The capacity (pipeline and receiving terminal) is technically well defined with existing assumption. However, interruptable capacity might also be offered, and therefore demand indications from all players are important
4 | Entry Ellund | The capacity on both sides og the Interconnection Point (IP Ellund) is well known and are different. However, demand indications, especially on the German side is important to ensure that sufficient capacity is offered
5 | Entry RES | New entry capacity will be established according to socioeconomic validation
6 | Entry Storage DK | Transport capacity is depending on withdrawal from storage facilities. New transit might influence the demanded capacity and indications of further capacity needed by new players are important. Capacity is booked in Gas Storage Denmark
7 | Entry "New Denmark" | I.e. onshore gasfields or LNG supply plants might trigger the need for new physical entry points in or near the existing gastransmission system
8 | Exit "Faxe" | The capacity (pipeline and compressor station) is technically well defined with exitsting assumption. However, interruptable capacity might also be offered, and therefore demand indications from all players are important
9 | Exit Ellund | The capacity on both sides og the Interconnection Point (IP Ellund) is well known and are different. However, demand indications, especially on the German side is important
10 | Exit Storage DK | Transport capacity is depending on injection to storage facilities. New transit might influence the demanded capacity and indications of further capacity needed by new players is important. Capacity is booked in Gas Storage Denmark
11 | Joint Exit Zone (Sweden) | Dragor is not defined as an Interconnectio Point (IP) and is a part of the Joint Exit Zone. Future capacity will be defined in an operational agreement with Swedegas. However, indication of future new capacity demand is needed from players
12 | Joint Exit Zone "New Denmark" | Capacity is in principle "unlimited", which means that expected demand must be fulfilled. Existing market and demand is well known. However, new areas/municipalities/large customers might creates new capacity demands